General questions to the group

Q1.   What wecc reports or committee activities may better inform our review of the BTA filings?

Q2. What other reports would you suggest we review concerning:

· Demonstrating AZ regional planning activities

· Support work and projects discussed at the workshop

· Developments related to

· EPAct 2005

· nerc/wecc standards

· wecc committee structure and functions

Q3. Are there any issues before the WECC transmission expansion planning policy committee that may have an impact on the filings?

Q4. To what extent do your planning activities align with the proposed changes to FERC’s Order 888?

Q5. In regard to EPAct 2005—What measures have been implemented in the transmission planning area, if any, related to the ferc/nerc/wecc mandatory reliability requirements?

Questions for each participant

Q6. Are any the projects included in your 10-year plans being proposed solely for their economic benefits (as opposed to reliability benefits)?

Q7. How do the proposed transmission plans provide for delivery of new generation sources to Arizona customers:

· In-state generation—general locations considered?

· Generation imports—directions considered (from where?)

Q8. How do you identify RMR areas?  How do you define the RMR area boundaries?

Q9. Based on the CATS HV and other studies does it appear that Pinal County has the potential to become an RMR area in the future?

Q10. How have wapa’s transmission improvements been incorporated into the plans presented at the workshop? 

Q11. Where can we find the 10-year load forecast information used in your studies?

Q12. Discuss any difficulty you may have in providing the following information as part of future btas:

· A table reporting the assumed load for each year studied; and

· Reporting the specific contingency (or base case), limiting element, the nature of the limit, and the extent that criteria are violated that justifies each transmission addition.

