ARIZONA CORPORATION COMMISSION

APPLICATION FOR A

CURTAILMENT TARIFF

(Consecutive Water System)

The attached tariff has been prepared by the Utilities Division of the Arizona Corporation Commission to assist applicants filing for approval of a Curtailment Tariff. Please follow the instructions included on this sheet and retain this sheet for your records.

Instructions:

1. Use the attached tariff by typing or printing your company name in the underlined spaces provided.

2. Attach the proposed tariff to a letter which states the purpose of the filing. Use the sample letter, attached to these instructions, and attached it to the above completed tariff.

3. Submit an Original application with the Docket Control Cover Sheet attached to it and thirteen (13) copies of your application (the tariff and letter) to:

Docket Control Center

Arizona Corporation Commission

1200 West Washington

Phoenix, Arizona 85007-2996

ARIZONA CORPORATION COMMISSION

Filing Requirements

ALL FILINGS REQUIRE

1) An original + 13 copies

2) The Docket number MUST be on all copies of the filing

a) The exception is a New Application.

3) All copies must be properly collated.

a) Please do not send stacks of documents for Docket to collate.

4) No confidential or proprietary information will be docketed.

a) If you must file confidential information, you must make prior arrangements 	with the Hearing or Legal Division(s).

b) It is also the filing parties’ responsibility to remove or redact any personal 	information that would not be appropriate for public view.

5) All documents must be filed on 8-1/2” x 11” paper – NO EXCEPTIONS.

(Additional copies to be distributed to parties may be larger if necessary, please 	contact Docket Control 602-542-3477 for more information.)

6) If the filing is for an existing Docket, the filing party must mail the filed document to ALL parties on the Service List (see E-Docket for copy of Service List).

If you have any questions concerning the filing of documents please contact Docket Control at (602) 542-3477.

Sample Letter

Company Name

Company Mailing Address

Date

Docket Control

Arizona Corporation Commission

1200 West Washington Street

Phoenix, Arizona 85007

Attached is an application by Company Name for approval of a Curtailment Tariff. The purpose of this tariff is to implement water conservation measures during times of water shortages.

Company Representative’s Signature

(PRINT) Company Representative’s Name

TARIFF SCHEDULE

Utility: __________________________		Tariff Sheet No.: __1 of 3________

Docket No.: ______________________		Decision No.:__________________

Phone No.: _______________________		Effective: _____________________

CURTAILMENT PLAN FOR:_______________________________________

(Template 102109)

Consecutive Water System

ADEQ Public Water System No: ____________________

_______________________(“Company”), is authorized to curtail water service to all customers within its certificated area under the terms and conditions listed in this tariff.

This curtailment plan shall become part of the Arizona Department of Environmental Quality Emergency Operations Plan for the Company.

The Company shall notify its customers of this new tariff as part of its next regularly scheduled billing after the effective date of the tariff or no later than sixty (60) days after the effective date of the tariff.

The Company shall provide a copy of the curtailment tariff to any customer, upon request.

Stage 1 Exists When:

Company's water supplier ____________________________(“Supplier”), is able to provide 100 percent of the Company's water demand.

Restrictions : Under Stage 1, the Company is deemed to be operating normally and no 	curtailment is necessary.

Notice Requirements: Under Stage 1, no notice is necessary.

Stage 2 Exists When:

a. The Supplier cannot supply more than 80 percent of the Company's daily average 	demand and,

b. Supplier has identified issues such as a steadily declining water table, increased draw 	down threatening pump operations, or poor water production, creating a reasonable belief 	the Supplier will be unable to meet anticipated water demand on a sustained basis.

Restrictions : Under Stage 2, the Company may request the customers to voluntarily 	employ water conservation measures to reduce water consumption by approximately 50 	percent. Outside watering should be limited to essential water, dividing outside watering 	on some uniform basis (such as even and odd days) and eliminating outside watering on 	weekends and holidays.

TARIFF SCHEDULE

Utility: __________________________		Tariff Sheet No.: __2 of 3________

Docket No.: ______________________		Decision No.:__________________

Phone No.: _______________________		Effective: _____________________

Notice Requirements: Under Stage 2, the Company is required to notify customers by 	delivering written notice door to door at each service address, or by United States first 	class mail to the billing address or, at the Company’s option, both. Such notice shall 	notify the customers of the general nature of the problem and the need to conserve water.

Stage 3 Exists When:

- The Supplier cannot supply more than 50 percent of the Company's daily average demand and,

- Supplier has identified issues such as a steadily declining water table, increased draw down threatening pump operations, or poor water production, creating a reasonable belief the Supplier will be unable to meet anticipated water demand on a sustained basis.

Restrictions: Under Stage 3, the Company shall request the customers to voluntarily employ water conservation measures to reduce daily consumption by approximately 50 percent. All outside watering should be eliminated, except livestock, and indoor water conservation techniques should be employed whenever possible. Standpipe service shall be suspended.

Notice Requirements:

- The Company is required to notify customers by delivering written notice to each service address, or by United States first class mail to the billing address or, at the Company’s option, both. Such Notice shall notify the customers of the general nature of the problem and the need to conserve water.

- Beginning with Stage 3, the Company shall post at least _____ signs showing the curtailment stage. Signs shall be posted at noticeable locations, like entrance to major subdivisions served by the Company.

- The Company shall notify the Consumer Services Section of the Utilities Division of the Corporation Commission at least 12 hours prior to entering Stage 3.

Stage 4 Exists When:

- The supplier cannot supply more than 25 percent of the Company's daily average demand and,

- Supplier has identified issues such as a steadily declining water table, increased draw down threatening pump operations, or poor water production, creating a reasonable belief the Supplier will be unable to meet anticipated water demand on a sustained basis.

TARIFF SCHEDULE

Utility: __________________________		Tariff Sheet No.: __3 of 3________

Docket No.: ______________________		Decision No.:__________________

Phone No.: _______________________		Effective: _____________________

Restrictions: Under Stage 4, the Company shall inform the customers of a mandatory restriction to employ water conservation measures to reduce daily consumption.  Failure to comply will result in customer disconnection.  The following uses of water shall be prohibited.

- Irrigation of outdoor lawns, trees, shrubs, or any plant life is prohibited

- Washing of any vehicle is prohibited

- The use of water for dust control or any outdoor cleaning uses is prohibited

- The use of drip or misting systems of any kind is prohibited

- The filling of any swimming pools, spas, fountains, or ornamental ponds is prohibited

- The use of construction water is prohibited

- Restaurant patrons shall serve water only upon request

- Any other water intensive activity shall be prohibited

The Company’s operation of its standpipe service is prohibited.  The addition of new service lines and meter installations is prohibited.

Notice Requirements:

- The Company is required to notify customers by delivering written notice with each service address, or by United States first class mail to the billing address or at the Company’s option both.  Such notice shall notify the customers of the general nature of the problem and the need to conserve water.

- The Company shall have posted at least ____________ signs showing the curtailment stage.  Signs shall be posted at noticeable locations, like the entrance to the major subdivisions served by the Company.

- The Company shall notify the consumer Services Section of the Utilities Division of the Corporation Commission at least 12 hours prior to entering Stage 4.

If a customer believes he/she has been disconnected in error, the customer may contact the Commission’s Consumer Services Section at 1-800-222-7000 to initiate an investigation.

Under Stage 4, the Company must rely on emergency hauling or must otherwise provide emergency drinking water for its customers.

Customers who fail to comply with the above referenced restrictions will be given written notice to end all outdoor use.  Failure to comply with the above referenced restrictions will be given written notice to end all outdoor use.  Failure to comply within two (2) working days of receipt of the notice will result in temporary loss of service until agreement can be made to end unauthorized use of outdoor water.  To restore service, the customer shall be required to pay all authorized reconnection fees.