M E M O R A N D U M

DATE:		February 8, 2016

TO:		James Armstrong, Chief, FRA

Darron Carlson, Manager, FRA

Del Smith, Supervisor, Engineering

FROM:	Michael S. Thompson, P.E.

Engineering

RE:		Depreciation Rates For Water Companies

Attached are general guidelines for annual water company depreciation rates by NARUC Account Number.  These rates represent a typical and customary value within a range of anticipated equipment life.

Water companies may experience different rates due to variations in construction, environment, or the physical and chemical characteristics of the water.  For rate making purposes, the actual values used to calculate an annual depreciation expense should reflect, as closely as possible, the actual retirement rates experienced by the water company.  However, faster depreciation rates should not be used if they are the result of imprudence, poor maintenance, or negligence by the water company.

Staff Engineering recommends these depreciation rates be used for all water companies, unless the company can demonstrate that a particular depreciation rate should be different based on its unique operating characteristics.

Attachment

Cc:	Tom Broderick, Director, Utilities

Elijah Abinah, Assistant Director, Utilities

DEPRECIATION RATES FOR WATER COMPANIES

| NARUC Account No. | Depreciable Plant | Average Service Life (Years) | Annual Accrual Rate (%) |
| --- | --- | --- | --- |
| 301 | Organization | ---- | 0.00 |
| 302 | Franchises | ---- | 0.00 |
| 303 | Land and Land Rights | ---- | 0.00 |
| 304 | Structures & Improvements | 30 | 3.33 |
| 305 | Collecting & Impounding Reservoirs | 40 | 2.50 |
| 306 | Lake, River, Canal Intakes | 40 | 2.50 |
| 307 | Wells & Springs | 30 | 3.33 |
| 308 | Infiltration Galleries | 15 | 6.67 |
| 309 | Raw Water Supply Mains | 50 | 2.00 |
| 310 | Power Generation Equipment | 20 | 5.00 |
| 311 | Pumping Equipment | 8 | 12.5 |
| 320 | Water Treatment Equipment |  |  |
| 320.1 | Water Treatment Plants | 30 | 3.33 |
| 320.2 | Solution Chemical Feeders | 5 | 20.00 |
| 320.3 | Point-of-Use Treatment Devices | 10 | 10.00 |
| 320.4 | Arsenic Media | See Note 3 | See Note 3 |
| 330 | Distribution Reservoirs & Standpipes |  |  |
| 330.1 | Storage Tanks | 45 | 2.22 |
| 330.2 | Pressure Tanks | 20 | 5.00 |
| 331 | Transmission & Distribution Mains | 50 | 2.00 |
| 333 | Services | 30 | 3.33 |
| 334 | Meters | 12 | 8.33 |
| 335 | Hydrants | 50 | 2.00 |
| 336 | Backflow Prevention Devices | 15 | 6.67 |
| 339 | Other Plant & Misc Equipment | 15 | 6.67 |
| 340 | Office Furniture & Equipment | 15 | 6.67 |
| 340.1 | Computers & Software | 5 | 20.00 |
| 341 | Transportation Equipment | 5 | 20.00 |
| 342 | Stores Equipment | 25 | 4.00 |
| 343 | Tools, Shop & Garage Equipment | 20 | 5.00 |
| 344 | Laboratory Equipment | 10 | 10.00 |
| 345 | Power Operated Equipment | 20 | 5.00 |
| 346 | Communication Equipment | 10 | 10.00 |
| 347 | Miscellaneous Equipment | 10 | 10.00 |
| 348 | Other Tangible Plant | See Note 2 | See Note 2 |

NOTES:

- These depreciation rates represent average expected rates.  Water companies may experience different rates due to variations in construction, environment, or the physical and chemical characteristics of the water.

- Acct. 348, Other Tangible Plant may vary from 5% to 50%.  The depreciation rate would be set in accordance with the specific capital items in this account.

- Acct. 320.4, Arsenic Media may vary from 17% to 67%.  The depreciation rate would be set in accordance with the specific service life of the arsenic media.